## Documents (hidden)
Delivery conditions:
Desired delivery period (priority one) | ??? | calendar days from the date of Contract conclusion
Deadline for delivery (to be used in exceptional cases, under provided justification) | ??? | calendar days from the date of conclusion of contract with the right of early delivery - otherwise GIZ shall not to accept the goods and the Seller shall renounce any claim as for such refusal of GIZ to accept the goods.
| ??? | specify exact date. Please pay attention that in case of late delivery - GIZ shall not to accept the goods and the Seller shall renounce any claim as for such refusal of GIZ to accept the goods.
Justification for setting the delivery deadline (exceptional cases) | The devices need the grids with filled water in the district heating pipes to detect water leakages. Often this water is drained for maintenance during summer. Hence, they need to be delivered asap, latest April.
Documents required for technical evaluation (during tender) | please add each document in other row
a) specification and a letter certified by the supplier, with the indicated model and technical parameters that comply with the tender specifications
b) a letter of guarantee stating that the Participant is an official representative/ distributor of the Producer and will provide training for the Customer's personnel on how to operate the equipment at the Customer's facilities or at another similar facility as agreed by the parties (in the in the fields/at the operating facility)
с) a free-form certificate confirming the existence of a service center in Ukraine that provides warranty and post-warranty repairs for the equipment being offered
d) a certificate confirming that the goods offered are new, factory-assembled, have not been in use, have not been refurbished, and have not been assembled from refurbished components.
Letter of compliance with standards, in particular: – CE marking; – EU declaration of conformity; – Manufacturer quality management certified according to ISO 9001.
Documents required upon delivery | please add, change or delete
a) passport or quality certificate
b) warranty card with the manufacturer's/supplier's stamp
c) user manual (UKR)
if necessary please add
Special conditions Please be aware, that special conditions will be used in tender conditions and contract. Please be aware that a number of general conditions have already been established in the tender documentation (see the "General conditions" tab). If general conditions do not cover all needed requirements please add special conditions applicable to your request. | All prices include all applicable charges and expenses to be paid by the Seller, that includes, but is not limited to: price of Goods, packaging of Goods, addsress delivery of Goods, unloading, delivery of the goods to the destination place by address delivery, provision of training for the Customer's personnel on how to operate the equipment at the Customer's facilities or at another similar facility as agreed by the parties (in the in the fields/at the operating facility).
Note on F8: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: In this case the delivery period isn't used as exclusion criteria. In case of late delivery penalties will be imposed to Supplier.
Note on D11: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: In case ad-hoc funds are used, please specify additionally when ad-hocs were handed in and why were not used before.

## Specification
CONFIDENTIAL
Lot # | Item description | Technical Specification
Relevant for all lots (and amounts) according to the "Leistungsverzeichnis" | Leak detector/correlator with correlation sensors, multi-sensor/transmitters, and ground microphone (geophone), stereo headphones and other necessary accessories | Description of appliances: General description: Acoustic leak detector (correlator) designed to locate water leaks in water pipes and central heating pipes (made of any material, including plastic pipes, large-diameter pipes, and segmented pipes made of different materials). The device must be equipped with the necessary accessories (sensors, detectors) for leak detection using the correlation method. The software should provide the user with a wide range of settings to more accurately determine the location of the leak. Digital correlator Display: Colour display not less than 5.5'' VGA, not less than 640 x 480 pixels, with the possibility of use in bright sunlight. Ingress protection: no worse IP 65 Parameters input and control: touch display and possible additional mechanical control devices (buttons, joysticks, etc.), Language: Ukrainian, or with the option of further installation. Power supply: built-in battery Operating time: min. 10 hours Acoustic detection range: lower value not higher than 5Hz – upper value not lower than 4000Hz Built-in memory for storing correlation results: yes Durable body with dimensions no more than 250 x 200 x 100 mm Has a built-in headphone jack: yes Weight of the correlator calculator unit: up to 2 kg Charger from 230 V mains / 12 V car charger for charging the processing unit/correlator and sensors Integration with PC PC connection: either USB cable and/or other means of connecting to a PC, such as Bluetooth. Language: Ukrainian language or with the possibility to upgrade to Ukrainian language. Correlator information must be capable of being processed and stored on a PC. Other demands: Noise recording storage: yes FFT analysis: yes Ability to enter at least 8 pipe sections: yes Radio transmitter Power supply: built-in battery Battery life: min. 8 hours Radio antenna: yes Operating temperature range: not less than –20°C to +50°C Weight (without sensor): max. 1 kg Leak noise sensor: 2 pcs. (A and B) Piezo sensor with active amplification and magnetic adapter Compact waterproof device with magnetic adapter, built-in high-sensitivity sensor, and active signal amplifier Sensor type: piezoceramic sensor Housing material: 100% stainless steel Dimensions: max. Ø125 mm × 160 mm A strong magnetic holder ensures a secure connection to a fire hydrant, valve spindle, or any other metal pipe surface. Acoustic leak detection frequency: lower value not higher than 5Hz – upper value not lower than 4000Hz Weight: max. 1 kg Protection class IP68 Hand-probe for leak sounding in any situation, min 1 pcs. Ground microphone (geophone) Sensor with active piezo sensor. Measurement frequency range: lower value not higher than 5Hz – upper value not lower than 4000Hz Operating temperature range: not less than –20°C to +50°C Dimensions: max. Ø 230 x 200 mm Weight: max. 3 kg Protection class: min IP67. Battery life / or power supply from external unit – min. 8 hours Signal gain: min 40 dB Removable handle: yes Protective "skirt" against wind and extraneous noises: yes Tripod foot: yes Set of batteries or rechargeable batteries: yes Stereo headphones: yes Case/cases for storing and transporting the entire equipment set: yes · The equipment set must contain all the necessary accessories and cables for high-quality operation of the equipment in accordance with the technical specifications. Year of production: not earlier than 2025.

## Delivery (hidden)
Delivery DDP to a transport hub in Germany | Requirements
Delivery basis | DDP to a transport hub in Germany designated by GIZ, in accordance with Incoterms® 2020. The delivery price shall include suitable packing and marking, handling, transportation, customs clearance and all other costs required to deliver the leak-detection equipment to the specified destination: The detailed delivery address will be provided by GIZ after placement of the order and will be located within a radius of 200 km from Eschborn, Germany: DDP [exact named place of destination], Germany, Incoterms® 2020.
Packing and delivery period | Each complete leak-detection equipment set shall be securely packed in suitable protective transport cases and clearly marked as a separate delivery unit. The complete set shall include the correlator, correlation sensors A and B, acoustic leak detector/ground microphone, headphones, chargers, batteries, cables, software, manuals and all other accessories specified in the Technical Specification. All equipment shall be delivered DDP to the designated place in Germany no later than 4 (or 5?) months after placement of the order.
Customs status | All goods delivered DDP Germany shall be Union goods or goods fully imported and released for free circulation within the European Union. The Contractor shall be responsible for import customs clearance and all applicable customs duties, taxes, fees and other costs required for delivery under the agreed Incoterms® 2020.
Information to be specified by the bidder | The bidder shall specify: the number of packages or transport units; the dimensions and gross weight of each package; the total gross weight and transport volume; the temperature condition of the goods transportation, the applicable dangerous-goods classification, if any; and, where the equipment contains lithium batteries, the battery type, UN number, transport classification and corresponding UN 38.3 test-summary documentation. Other necessary requirement to the Leak detection appliance transportation.

## European Companies (hidden)
Manufacturer and products | European contact details
Gutermann AG — AQUASCAN 760T correlator; AQUASCOPE 3/550 acoustic detector | Head office: Gubelstrasse 15, 6300 Zug, Switzerland. Tel.: +41 41 760 60 33. German sales office: Gutermann Technology GmbH, Gottlieb-Daimler-Strasse 10, D-88214 Ravensburg, Germany. Sales: +49 711 9937 5422. Contact form and European offices https://en.gutermann-water.com
SebaKMT / Megger Germany GmbH — Correlux C-3 correlator; HL 7000 or HL 50-BT ground microphone | Dr.-Herbert-Iann-Strasse 6, D-96148 Baunach, Germany. Tel.: +49 9544 680. Email: sales@sebakmt.com. International sales and quotation request https://sebakmt.com
Hermann Sewerin GmbH — SeCorr C 200 correlator; AQUAPHON A 200/A 150 ground microphone | Robert-Bosch-Straße 3, D-33334 Gütersloh, Germany. Tel.: +49 5241 934-0. Email: info@sewerin.com; https://www.sewerin.com/en/; International sales and service partners
HWM-Water Ltd, trading as HWM Global — Touch Pro correlator; DXmic Pro ground microphone | Ty Coch House, Llantarnam Park Way, Cwmbran, NP44 3AW, United Kingdom. Sales: +44 1633 489 479, option 1. Customer service: option 2; technical service: option 3. Sales enquiry and contact form
F.A.S.T. GmbH – Groupe Claire — LOKAL 400 correlator; Aqua M-series acoustic detector | Bössingerstraße 36, 74243 Langenbrettach, Germany. Tel.: +49 7946 92100-0. Fax: +49 7946 7153. Email: info@fastgmbh.de. https://www.fastgmbh.de/en/

## Ukrainian companies (hidden)
CONFIDENTIAL
List of potential candidates
No.: | Name of company in full | Web page of company (optional) | Phone numbers: | Email addresses:
1 | Promix Commercial and Industrial Firm Ltd. | https://promix.com.ua/uk/ | +380504117054 | lytvynchuk@promix.com.ua
2 | CSTEL, LLC | https://cstel.ua/en/ | +380675734171 | ig@cstel.ua
3 | Alliance - C, LLC | http://alliance-s.com.ua/ | +380676433180 | info@alliance-s.com.ua
4 | OVM TECHNOLOGY GROUP, LLC | https://ovm.ua | +380674491696 | om@ovm.ua
5 | ONIKO, LLC | www.oniko.ua | +380503527240 | water@oniko.ua
6 | COMPANY VULVER, LLC | https://vulver.com.ua | +380442273838 | vulverco@gmail.com
7
8
9
10

## General conditions (hidden)
CONFIDENTIAL
General conditions:
1. The proposed Goods are new and were not been used.
2. Packaging must meet the requirements established for this type of Goods and protect it from damage or deterioration during transportation (delivery).
3. The Goods and packaging must not contain any advertising markings of a political nature, discriminatory slogans or symbols.
4. All prices include all applicable charges and expenses to be paid by the Seller, that includes, but is not limited to: price of Goods, packaging of Goods, addsress delivery of Goods, unloading, delivery of the goods to the destination place by address delivery.
5. The tender winner shall notify delivery by sending an email to the contact person copying GIZ staff 2 business days in advance. The email should contain information about the date and expected time of delivery, a list of goods and the name of freight company.
6. GIZ reserves the right to request additional information conserning the bidder/goods at any stage of the tender procedure with objective of the verification of the bidder’s status as for the applicable sanction lists and measures. In case of relevant restrictions, GIZ reserves the right to reject the Bidders offer. The contract can only be concluded after the sanctions check has been completed. GIZ has the right to request additional information regarding the sanctions check. The Tenderer / Contractor must: • not be on the sanctions list of Ukraine, the EU, the UN; • ensure that the final beneficiaries/participants are not on the sanctions list of Ukraine, the EU, the UN; • not be in the process of termination; • not be registered on temporary occupied territories of Ukraine; • not have the ultimate beneficial owner, member or participant (shareholder), having a share in the authorized capital of 10 percent or more, which is the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran, a citizen of the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran except for those who live on the territory of Ukraine on legal grounds, or a legal entity created and registered in accordance with the legislation of the Russian Federation, the Republic of Belarus, the Islamic Republic of Iran. GIZ reserves the right to verify the information at any time. The tenderer confirms that he agrees to the processing of personal data in accordance with the provisions of the EU General Data Protection Regulation (GDPR) and the Law of Ukraine ""On the Protection of Personal Data"" No. 2297-VI dated 01.06.2010. If the results of verification reveal grounds that prevent the conclusion of the contract, GIZ reserves the right to refuse to conclude the contract in such cases.
7. Draft of the Contract for the purchase of Goods in para "Terms of purchase of goods": https://www.giz.de/en/worldwide/63065.html
8. Tender winners shall sign the Contract for the purchase of Goods within 3 calendar days after receipt of the Contract for signing (otherwise GIZ shall be entitled to refuse from the Goods procurement and the Seller shall renounce any claim as for such refusal of GIZ to accept the goods).
9. Before entering into any contract, GIZ reserves the right to ascertain the origin of the goods offered. This assessment will be conducted to ensure compliance with embargoes and other trade restrictions in place within the scope of GIZ’s due diligence. This is particularly true of the EU sanctions against Russia, Belarus, Crimea and the affected parts of Eastern Ukraine currently in place (primarily the EU Council Regulations No.: 833/2014 and 765/2006). By submitting their bid, the bidder undertakes towards GIZ the responsibility that in the event of a probable award, the bidder will provide all necessary support to enable GIZ to ensure compliance with the sanctions regime – this assurance is thus given prior to the award of any contract. This includes in particular the obligation, if so requested by GIZ, to complete a self-declaration to determine the origin of the goods offered and/or to provide GIZ with the required evidence of the origin of such goods. Should the bidder fail to meet these obligations or fail to do so within a reasonable period of time, this can result in their bid being excluded. A contract can only be awarded on completion of this assessment of the origin of the goods offered. Should this check give grounds for concern or reveal facts that constitute a contractual impediment, GIZ shall inform the bidder without delay. GIZ shall also reserve the right in such cases to award the contract to the next-ranked bidder in the competitive tender procedure.
10. The EU’s restrictive measures against Russia were expanded and tightened in particular by the fifth package of restrictive measures (EU Council Regulation 2022/576 ) adopted on 8 April 2022. As a result, since that date GIZ has been legally prohibited from awarding or continuing to execute contracts as of 10 October 2022 with the persons, entities or bodies with links to Russia as specified in Article 5k of the EU Council Regulation 833/2014 (hereafter referred as the ‘Regulation’). Furthermore, GIZ is prohibited from awarding or continuing to execute contracts with persons, entities or bodies if these persons, entities or bodies who intend to employ subcontractors, suppliers or companies with links to Russia, as specified in the Regulation, whose capacities are being relied on within the meaning of the public procurement Directives, and where these subcontractors, suppliers or companies with links to Russia account for more than 10% of the contract value. The Regulation constitutes a statutory prohibition within the meaning of Section 134 of the German Civil Code (BGB), with the effect that – even in the case of a tender being accepted – no valid contract will be established if the conclusion of such a contract would contravene this Regulation. GIZ must therefore ensure that the award of contract in relation to a tender is not associated with any violations of applicable legislation. The tenderers are obliged to make a truthful declaration using the self-declaration on the EU-Russia-Sanctions, which is included in the tender documents. False statements may lead to an exclusion of the bidder or may render the contract void.
11. The Bidder should provide price offers in euros, but the contract will be concluded in hryvnias according to the NBU currency exchange rate valid on the date of tender results announcment; the financial settlements shall be conducted in UAH.